## NREC-MD Aug 2024
NREC-MD application ID | Title | PI (Institution) | Sponsor | MDR/IVDR | Final decision | Date of final decision
24-NREC-MD-003 | InvEstigation of the safety and performance of the NVT ALLEGRA Plus THV SysteM in Patients with severe aortIc stenosis or failed suRgical aortic bioprosthEsis (EMPIRE II) | Dr Darren Mylotte (UHG) | NVT GmbH | MDR | FWC | 2024-08-15
24-NREC-MD-016 | An interventional, prospective clinical study protocol for testing RNA extracted from FFPE tumor tissue specimens taken from patients with Intermediate risk Non-Muscle-Invasive Bladder Cancer (IR-NMIBC) for FGFR alterations, using the QIAGEN therascreen® FGFR RGQ RT- PCR Kit, to determine molecular eligibility (FGFR gene alterations detected) for enrolment onto Janssen’s Phase 3 clinical trial of the FGFR inhibitor, erdafitinib (MoonRISe-1 number 42756493BLC3004) | Prof Ray McDermott (St Vincents) | QIAGEN Manchester Ltd | IVDR | F | 2024-08-15
24-NREC-MD-018 | Clinical performance study for use of the FOLR1 (2.1) Clinical Trial Assay in Study IMGN853-0424: A Randomized Phase 2 Study of Ocular Toxicity Evaluation and Mitigation During Treatment with Mirvetuximab Soravtansine in Patients with Recurrent Ovarian Cancer with High Folate Receptor-Alpha Expression | Dr Austin Duffy (Mater Hospital) | Immunogen Inc. | IVDR | FWC | 2024-08-15
24-NREC-MD-019 | Oncomine™ Dx Express Test Clinical Performance Study Protocol (NTRK), Solid Tumor (FFPE), Danube, Project Number PRJ0003987 | Dr Rajendra Ramsamooj (Life Technologies Clinical Service Lab Inc., part of Thermo Fisher Scientific USA) | Life Technologies Corporation, part of Thermo Fisher Scientific | IVDR | FWC | 2024-08-15
24-NREC-MD-011 | A Phase 3 randomized, masked, controlled trial to evaluate efficacy and safety of belzupacap sarotalocan (AU-011) treatment compared to sham control in subjects with primary indeterminate lesions or small choroidal melanoma | Dr Noel Horgan (Royal Victoria Eye and Ear Hospital) | Aura Biosciences, Inc. | MDR | F | 2024-06-25
24-NREC-MD-015 | Use of the Fetal Antigen Non-Invasive Prenatal Testing (NIPT) Clinical Trial Assay to determine fetal red blood cell antigen status in the Janssen-sponsored Phase 3 IMP clinical trial. | Prof Fergal Malone (Rotunda) | BillionToOne, Inc. | IVDR | U | 2024-06-25
21-NREC-MD-007-SM3 | A Prospective, Multi-Center, Open-Label, Single- Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordella™ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (SIRONA 2 Trial) | Prof. Faisal Sharif (Univeristy Hospital Galway) | Endotronix Ireland Limited | MDR | F | 2024-06-25
23-NREC-MD-022-SM2 | In vitro diagnostic device interventional clinical performance study – RDA in SHAMROCK - RDA_SHAMROCK study | Prof. Bryan Hennessy (Beaumont Hospital) | Cancer Trials Ireland | IVDR | F | 2024-06-25
23-NREC-MD-002-SM3 | An observational post-marketing study for evaluation of ongoing safety and effectiveness of catheter mapping and ablation using commercially approved BWI medical devices for the treatment of patients with cardiac arrhythmias | Prof. Gabor Szeplaki (Mater Private Dublin) | J&J | MDR | F | 2024-06-25
23-NREC-MD-023-SM2 | Clinical Performance Study Plan for FoundationOne CDx (F1CDx) used as a Clinical Trial Assay (CTA) in the Clinical Trial XPORT-EC-042 for Karyopharm Therapeutics Inc. | Dr. Dearbhaile Collins (UCC) | Karyopharm Therapeutics Europe | IVDR | F | 2024-06-25
23-NREC-MD-024-SM2 | Luma Vision’s feasibility study on the VERAFEYE system (LUMINIzE) | Dr Gabor Szeplaki (Mater Private Network) | LUMA Vision Ltd. | MDR | F | 2024-06-25
23-NREC-MD-028 | Clinical and Radiologic Outcomes Associated with the use of SYMPHONY OCT System for the Treatment of Acute and Chronic Instabilities of the Craniocervical Junction, the Cervical Spine and the Upper Thoracic Spine | Prof. Joseph Butler (MMUH) | UCD | MDR | FWC | 2024-05-23
22-NREC-MD-039-SM2 | Gore VIAFORT Vascular Stent VNS 21-05 | Prof. Gerry O'Sullivan (UHG) | W. L. Gore & Associates B.V. | MDR | F | 2024-05-23
24-NREC-MD-008 | Prospective, Single-arm Study to Assess the Safety and Performance of the Omega™ Left Atrial Appendage (LAA) Occluder in Patients with Non-Valvular Atrial Fibrillation and High Bleeding Risk | Prof. Ivan Casserly (Mater Private Network) | Eclipse Medical Ltd. | MDR | FWC | 2024-05-23
24-NREC-MD-012 | Collection and Processing of Peripheral Blood (PB) and Bone Marrow (BM) Specimens from healthy volunteers for Analytical Performance Evaluation of the BD Cytognos™ MM-MRD Reagent Panel on the BD Flow Cytometer Systems | Dr Janusz Krawczyk (UHG) | Becton, Dickinson and Company – Biosciences | IVDR | FWC | 2024-05-23
24-NREC-MD-013 | DIAGNOSTIC DEVICE CLINICAL STUDY PROTOCOL, Performance of VENTANA PD-L1 (SP263) CDx Assay with OptiView DAB IHC Detection on the BenchMark ULTRA Instrument to Determine the PDL1 Expression Level of Non- Small-Cell Lung Cancer (NSCLC) Specimens for Roche Phase III Study GO45006 | Prof. Jarushka Naidoo | F.Hoffmann-La Roche Ltd | IVDR | FWC | 2024-05-23
24-NREC-MD-014 | Stagewise assessment of the ability of venous leg ulcer patients and nurses to utilise pressure monitoring technology for improving the targeted application, monitoring, and maintenance of compression therapy | Dr Niamh Hynes (Galway Clinic) | FeelTect Limited | MDR | FWC | 2024-05-23
22-NREC-MD-038-SM2 | Comparison of Departmental Echocardiogram vs. Caption AI-driven Acquisition (CODEC-AI) | Dr Matthew Barrett (SVUH) | HSE | MDR | F | 2024-05-23
24-NREC-MD-002-SM1 | Diagnostic Protocol for Use of VENTANA FOLR1 (FOLR1-2.1) CDx Assay for ImmunoGen for Study IMGN853-0421 | Dr Karen Cadoo (SJH) | Immunogen Inc | IVDR | F | 2024-05-23
23-NREC-MD-016-SM1 | A Post-Market Clinical Follow-up Study with Ultimaster NagomiTM Sirolimus Eluting Coronary Stent System in Complex PCI Subjects | Prof Robert Byrne (MPH) | Terumo Europe N.V. | MDR | F | 2024-05-23
22-NREC-MD-003-SM4 | Global SYMPLICITY Registry (GSR) Denervation Findings in Real World (DEFINE) is referred to as the GSR DEFINE study, Including Irish Country Addendum (IMPROVE) | Prof. Faisal Sharif | Medtronic Bakken Research Center (BRC) B.V. | MDR | F | 2024-04-25
23-NREC-MD-035 | Evaluation of Novel Digital Biomarkers in a Diverse Multiple Sclerosis Cohort | Dr Lisa Costelloe (Beaumont Hospital) | Head Diagnostics Ltd. | MDR | FWC | 2024-03-28
23-NREC-MD-006-SM1 | An Open-label Randomized Phase 3 Study of Tucatinib in Combination with Trastuzumab and mFOLFOX6 versus mFOLFOX6 given with orwithout either Cetuximab or Bevacizumab as First-line Treatment for Subjects with HER2+ Metastatic Colorectal Cancer | Dr Adrian Murphy (Beaumont Hospital) | Seagen Inc., | IVDR | F | 2024-03-28
23-NREC-MD-036 | Distal Evaluation of Functional performance with lntravascular sensors to assess the Narrowing Effect: Guided Physiologic Stenting (DEFINE GPS)" | Prof. Faisal Sharif (UHG) | Philips Image Guided Therapies Devices | MDR | FWC | 2024-03-28
23-NREC-MD-037 | Clinical Performance Study Plan for Ki-67 IHC MIB-1 pharmDx (Dako Omnis) on early breast cancer specimens used to identify subjects for enrolment in AstraZeneca’s Phase III CAMBRIA-2 trial (D8535C00001-IVD) | Prof. Seamus O'Reilly (CUH) | AstraZeneca AB | IVDR | F | 2024-03-28
23-NREC-MD-018-SM1 | First in Human Clinical Investigation of the FIRE1TM System inHeart Failure in Patients | Prof. Ken McDonald (SVUH) | FIRE1 (Foundry Innovation and Research 1, Limited) | MDR | FWC | 2024-03-28
23-NREC-MD-024-SM1 | Luma Vision’s feasibility study on the VERAFEYE system (LUMINIZE) | Prof. Gabor Szeplaki (Mater Private Dublin) | LUMA Vision Ltd. | MDR | F | 2024-03-28
24-NREC-MD-002 | Diagnostic Protocol for VENTANA FOLR1 (FOLR1-2.1) CDx Assay for ImmunoGen Study IMGN853-0421 | Dr Karen Cadoo (SJH) | ImmunoGen, Inc. | IVDR | FWC | 2024-03-28
24-NREC-MD-004 | A Post-Market Registry of the BioFreedomTM Ultra CoCr Biolimus A9TM coated coronary stent system | Prof. Briain MacNeill (Galway University Hospital) | Biosensors Europe Ltd. | MDR | FWC | 2024-03-28
24-NREC-MD-005 | ThermoBreast – Non-contact Breast Cancer Imaging using AI-enhanced Thermography | Prof. Martin O’Sullivan (CUH) | ThermoMind Ltd | MDR | U | 2024-03-28
22-NREC-MD-026-SM1 | Effectiveness of the SpaceOAR Vue System in Subjects with Prostate Cancer being Treated with Stereotactic Body RadiothErapy (SABRE) | Dr Paul Kelly (Bon Secours) | Boston Scientific International S.A. | MDR | F | 2024-03-28
24-NREC-MD-006 | A Study evaluating the user experience with the FARAVIEW™ technology of the RHYTHMIA HDx™ Mapping System when used with the FARAWAVE NAV™ Pulsed Field Ablation catheter in the treatment of Atrial Fibrillation | Prof. Gabor Szeplaki (Mater Private Dublin) | Boston Scientific International S.A. | MDR | FWC | 2024-03-28
23-NREC-MD-002-SM2 | SECURE - An observational post-marketing study for evaluation of ongoing safety and effectiveness of catheter mapping and ablation using commercially approved BWI medical devices for the treatment of patients with cardiac arrhythmias | Prof. Gabor Szeplaki (Mater Private Dublin) | Biosense Webster, Inc. | MDR | FWC | 2024-03-28
24-NREC-MD-007 | An Open-label, Randomized, Controlled Phase 3 Study of Disitamab Vedotin in Combination with Pembrolizumab Versus Chemotherapy in Subjects with Previously Untreated Locally Advanced or Metastatic Urothelial Carcinoma that Expresses HER2 (IHC 1+ and Greater) | Prof. Raymond McDermott (TUH) | Seagen, Inc | IVDR | FWC | 2024-03-28
23-NREC-MD-023-SM1 | Clinical Performance Study Plan for FoundationOne CDX (F1CDx) used as a Clinical Trial Assay (CTA) in the Clinical Trial XPORT-EC-042 for Karyopharm Therapeutics Inc. | Dr Dearbhaile Collins (CUH) | Karyopharm Therapeutics Inc. | IVDR | F | 2024-03-28
24-NREC-MD-010 | ProVIDE II Bridging Study | Mr Barry Jones (SJH) | ProVerum Ltd. | MDR | FWC | 2024-03-28
24-NREC-MD-009 | Affera Global Registry | Prof. Jonathan Lyne (Beacon Hospital, Dublin) | Medtronic Bakken Research Center (BRC) B.V. | MDR | FWC | 2024-03-28
23-NREC-MD-039 | Collection and Processing of Peripheral Blood (PB) and Bone Marrow (BM) Specimens from healthy volunteers for Analytical Performance Evaluation of the BD Cytognos™ MM-MRD Reagent Panel on the BD Flow Cytometer Systems. | Dr Janusz Krawczyk (UHG) | Becton, Dickinson and Company – Biosciences | IVDR | U | 2024-02-23
23-NREC-MD-038 | Fetal Movement Device Clinical Investigation: Demonstrating the safety and performance of a novel wearable fetal movement monitor | Prof. Niamh Nowlan (UCD) | Prof Patrick Murray (UCD) | MDR | FWC | 2024-02-23
24-NREC-MD-001 | Use of electromagnetic tracking to monitor patient breathing movement during bronchoscopy to assess registration errors with respect to pre-operative CT images | Prof. Marcus Kennedy (University College Cork) | University College Cork | MDR | FWC | 2024-02-23
22-NREC-MD-017-SM1 | Real world evidence observational study to evaluate performance and safety of intravesical sodium hyaluronate (CystistatÂ®) in the treatment of patients with interstitial cystitis (IC)/bladder pain syndrome (BPS) | Prof. Rustom Manecksha (AMNCH/ Tallaght) | MEDA Pharma GmbH & Co. KG (A Viatris company) | MDR | F | 2024-02-23
23-NREC-MD-012-SM1 | Diagnostic Protocol for VENTANA FGFR2b (FPR2-D) Assay for Amgen Study 20210096 (CTIMP: A Randomized, Multi-Center, Double-blind, Placebo-controlled Phase 3 Study of Bemarituzumab plus Chemotherapy versus Placebo plus Chemotherapy in Subjects with Previously Untreated Advanced Gastric or Gastroesophageal Junction Cancer with FGFR2b Overexpression) | Dr Maeve Lowery (SJHl) | Ventana Medical Systems, Inc. | IVDR | F | 2024-02-23
22-NREC-MD-036-SM3 | A Prospective, Multi-Center, Open Label, Single Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordella™ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (PROACTIVE- HF Trial) | Prof. Faisal Sharif (UHG) | Endotronix, Ireland Limited | MDR | F | 2024-01-24
23-NREC-MD-010-SM2 | Evolut™ EXPAND TAVR II Pivotal Trial | Dr Darren Mylotte (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | F | 2024-01-24
23-NREC-MD-033 | An observational study of the NeuroBell EEG Monitor (a portable and wireless EEG monitor) | Prof. Brian Walsh (CUMH) | University College Cork | MDR | F | 2023-12-21
23-NREC-MD-034 | Clinical Investigation Plan (CIP) for: Safety and Performance Study for Arterial Large Hole Vascular Closure Device – ELITE study | Prof. Mark Spence (Mater Private Dublin) | Vivasure Medical | MDR | F | 2023-12-21
23-NREC-MD-031 | Clinical Performance Study for the Signatera Test Used in Identification of Circulating Tumor-DNA in Muscle-Invasive Bladder Cancer Patients Enrolled Under F. Hoffmann-La Roche Clinical Study Protocol BO42843 | Prof. Ray McDermott (TUH) | F.Hoffmann La-Roche Ltd. | IVDR | F | 2023-11-20
23-NREC-MD-032 | Clinical/radiological outcomes associated with the use of conduit™ anterior lumbar interbody fusion (alif) cage system in conjunction with supplemental fixation for the treatment of lumbar degenerative disc disease at one or two contiguous spinal levels from l2-s1 | Prof. Joseph Butler (MMUH) | UCD | MDR | F | 2023-11-20
22-NREC-MD-039-SM1 | Evaluation of the GORE® VIAFORT Vascular Stent for Treatment of Symptomatic Inferior Vena Cava Obstruction with or without Combined Iliofemoral Obstruction | Prof. Gerry O'Sullivan (UHG) | W. L. Gore & Associates, Inc. | MDR | FWC | 2023-11-20
23-NREC-MD-029 | A Single Site Post-Market Data Collection Protocol to Evaluate the Performance of Synergy Spine Solutions Synergy Disc® | Prof. Joseph Butler (MMUH) | Synergy Spine Solutions Inc. | MDR | FWC | 2023-10-23
23-NREC-MD-030 | Wireless Ultra Long-Term EEG recordings in Epilepsy. A prospective long-term clinical evaluation using the UNEEG EpiSight solution | Prof. Norman Delanty (Beaumont Hospital) | UNEEG medical A/S | MDR | FWC | 2023-10-23
22-NREC-MD-032-SM2 | ProVee Urethral Expander System IDE Study/ProVIDE Study | Mr Barry Jones (SJHl) | ProVerum Ltd. | MDR | F | 2023-10-23
23-NREC-MD-008-SM1 | SPYRAL HTN-ON MED Global Clinical Study of Renal Denervation with the Symplicity Spyral™ multi-electrode renal denervation system in Patients with Uncontrolled Hypertension on Standard Medical Therapy | Prof. Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | F | 2023-10-23
23-NREC-MD-026 | Stellest® Lenses Observational Multi-Centred European Study (SLOMEs) | Prof. Ian Flitcroft (Centre for Eye Research Ireland) | Essilor International | MDR | FWC | 2023-09-25
23-NREC-MD-022-SM1 | Single arm phase 2 trial of neoadjuvant trastuzumab deruxtecan (T-DXd) with response-directed definitive therapy in early stage HER2-positive breast cancer: a standard chemotherapy-sparing approach to curative-intent treatment – SHAMROCK study. | Prof. Bryan Hennessy (Beaumont Hospital) | Cancer Trials Ireland | IVDR | F | 2023-09-01
23-NREC-MD-025 | Collection and Processing of Bone Marrow (BM) Specimens from healthy volunteers for Analytical Performance Evaluation of the BD Reagent Panels and Kits on the BD Flow Cytometer Systems | Dr Janusz Krawczyk (UHG) | Becton, Dickinson and Company | IVDR | FWC | 2023-08-21
23-NREC-MD-024 | Luma Vision’s feasibility study on the VERAFEYE system (LUMINIZE) | Prof. Gabor Szeplaki (Mater Private Dublin) | LUMA Vision Ltd. | MDR | F | 2023-08-21
23-NREC-MD-002-SM1 | An observational post-marketing study for evaluation of ongoing safety and effectiveness of catheter mapping and ablation using commercially approved BWI medical devices for the treatment of patients with cardiac arrhythmias | Prof. Gabor Szeplaki (Mater Private Dublin) | Biosense Webster, Inc. | MDR | F | 2023-08-21
22-NREC-MD-016-SM3 | A Prospective, Randomized, Double-Blind, Sham-Controlled, Multi-Center Pivotal Study to Evaluate the Efficacy and Safety of Duodenal Mucosal Resurfacing Using the Revita® System in Subjects with Type 2 Diabetes on Insulin therapy | Prof. Carel Le Roux (UCD) | Fractyl Health, Inc. | MDR | FWC | 2023-08-21
21-NREC-MD-003-SM1 | Non-inferiority of angiography-derived physiology guidance versus usual care in an All-comers population treated with unrestricted use of Healing-Targeted Supreme stent (HT Supreme) and P2Y12 inhibitor monotherapy after 1-month of dual-antiplatelet therapy: the PIONEER IV trial | Prof. Patrick W. Serruys (University of Galway) | University of Galway | MDR | F | 2023-08-21
23-NREC-MD-015 | Diagnostic Protocol for VENTANA PD-L1 (SP263) CDx Assay in Arcus Biosciences Study ARC-10 | Prof. Jarushka Naidoo (Beaumont Hospital) | Arcus Biosciences, Inc | IVDR | FWC | 2023-07-25
23-NREC-MD-016 | Ultimaster Nagomi Sirolimus Eluting Coronary Stent System in Complex Percutaneous Coronary Interventions (PCI) Patients (Nagomi Complex study) | Prof. Robert A. Byrne (Mater Private, Dublin) | Terumo Europe N.V. | MDR | F | 2023-07-25
23-NREC-MD-017 | TRIal to Evaluate TraNsvenous TrIcuspid Valve ReplacemenTwith LuX-Valve Plus System in Patients with Severe or Greater Tricuspid Regurgitation --SafetYand Clinical Performance | Prof. Darren Mylotte (UHG) | Jenscare Scientific (Netherlands) B.V. | MDR | F | 2023-07-25
23-NREC-MD-018 | First In Human Clinical Investigation of the FIRE1™ System in Heart Failure Patients. | Prof. Ken McDonald (SVUH) | FIRE1 (Foundry Innovation and Research 1, Limited) | MDR | FWC | 2023-07-25
23-NREC-MD-010-SM1 | Evolut TM EXPAND TAVR II Pivotal Trial | Prof. Darren Mylotte (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | F | 2023-07-25
22-NREC-MD-038-SM1 | Comparison of Departmental Echocardiogram vs Caption Ai-driven Acquisition (CODEC-AI) | Dr Matthew Barrett (SVUH) | HSE? (Confirm) | MDR | F | 2023-07-25
23-NREC-MD-022 | Single arm phase 2 trial of neoadjuvant trastuzumab deruxtecan (T-DXd) with response-directed definitive therapy in early stage HER2-positive breast cancer: a standard chemotherapy-sparing approach to curative-intent treatment – SHAMROCK study. | Prof. Bryan Hennessy (Beaumont Hospital) | Cancer Trials Ireland | IVDR | FWC | 2023-07-25
21-NREC-MD-015-SM2 | Fractional Flow Reserve or 3D-Quantitative Coronary-Angiography Based Vessel-FFR (FAST III) | Prof. Robert A Byrne (Mater Private Dublin) | European Cardiovascular Research Institute (ECRI) | MDR | F | 2023-07-25
23-NREC-MD-023 | Clinical Performance Study Plan for FoundationOne CDX (F1CDx) used as a Clinical Trial Assay (CTA) in the Clinical Trial XPORT-EC-042 for Karyopharm Therapeutics Inc. | Dr Dearbhaile Collins (CUH) | Karyopharm Therapeutics Inc. | IVDR | FWC | 2023-07-25
23-NREC-MD-011 | BoStOn SCientific Rhythm MAnagemenT REgiStry (SOCRATES) | Prof. Gabor Szeplaki (Mater Private Dublin) | Boston Scientific International S.A. | MDR | FWC | 2023-06-21
23-NREC-MD-013 | Children Myopia control Evaluation of Novel Soft Contact Lens Designs | Prof. James Loughman (Centre for Eye Research Ireland) | CooperVision Manufacturing Ltd. | MDR | FWC | 2023-06-21
23-NREC-MD-020 | Collection and Processing of Peripheral Blood (PB) Specimens from healthy volunteers for Analytical Performance Evaluation of the BD FACSLyric Flow Cytometer Instrument | Dr Janusz Krawczyk (UHG) | Becton, Dickinson and Company | IVDR | FWC | 2023-06-21
23-NREC-MD-007-SM1 | Repeatability, Reproducibility and Demographic Reference Study in Ocular Microtremor | Dr Matthew Sheehan (National Optometry Centre) | Head Diagnostics Ltd. | MDR | F | 2023-06-21
23-NREC-MD-019 | A Non-Randomized Clinical Study Evaluating Use of the CapBuster System Medical Device for the Crossing of Chronic Total Occlusions in Coronary Arteries | Prof. Mark Kennedy (Mater Private Dublin) | Praxis Medical Devices Ltd | MDR | F | 2023-06-21
22-NREC-MD-036-SM2 | A Prospective, Multi-Center, Open Label, Single Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordella™ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (PROACTIVE- HF Trial) | Prof. Faisal Sharif (UHG) | Endotronix Ireland Limited | MDR | F | 2023-05-22
21-NREC-MD-007-SM2 | A Prospective, Multi-Center, Open-Label, Single-Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordella™ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (SIRONA 2 Trial) | Prof. Faisal Sharif (UHG) | Endotronix Ireland Limited | MDR | F | 2023-05-22
23-NREC-MD-014 | A Non-Randomized Clinical Study Evaluating Use of the CapBuster System Medical Device for the Crossing of Chronic Total Occlusions in Coronary Arteries | Dr Colm Hanratty (Mater Private Dublin) | Praxis Medical Devices Ltd | MDR | U | 2023-05-22
23-NREC-MD-012 | Diagnostic Protocol for VENTANA FGFR2b (FPR2-D) Assay for Amgen Study 20210096 (CTIMP: A Randomized, Multi-Center, Double-blind, Placebo-controlled Phase 3 Study of Bemarituzumab plus Chemotherapy versus Placebo plus Chemotherapy in Subjects with Previously Untreated Advanced Gastric or Gastroesophageal Junction Cancer with FGFR2b Overexpression) | Dr Maeve Lowery (SJH) | Ventana Medical Systems, Inc. | IVDR | FWC | 2023-05-17
23-NREC-MD-010 | Evolut™ EXPAND TAVR II Pivotal Trial | Dr Darren Mylotte (UHG) | Medtronic, Inc, Structural heart and aortic | MDR | FWC | 2023-05-02
22-NREC-MD-027-SM2 | CONNected Electronic Inhalers Asthma Control Trial 3 (“CONNECT 3”), a 24-Week Treatment, Multicenter, Open-Label, Randomized, Parallel Group Comparison Study of Standard of Care Treatment Versus the Budesonide/Formoterol Digihaler Digital System, to Optimize Outcomes in Adult Patients with Asthma | Prof. Richard Costello (Beaumont Hospital) | Teva Branded Pharmaceutical R&D, Inc. | MDR | FWC | 2023-05-02
21-NREC-MD-012-SM2 | RHEIA (Randomized researcH in womEn all comers wIth Aortic stenosis): A Prospective, Randomized, Controlled, MultiCenter Study to Evaluate the Safety and Efficacy of Transcatheter Aortic Valve Implantation in Female Patients who have Severe Symptomatic Aortic Stenosis Requiring Aortic Valve Replacement | Dr Stephen O'Connor (SJH) | OPTIMAPHARM Deutschland GmbH | MDR | F | 2023-05-02
21-NREC-MD-015-SM1 | Fractional Flow Reserve or 3D-Quantitative Coronary-Angiography Based Vessel-FFR guided revascularization (FAST III) | Prof. Robert A Byrne (Mater Private Dublin) | European Cardiovascular Research Institute (ECRI) | MDR | FWC | 2023-05-02
23-NREC-MD-001 | Adagio Medical Pulsed Field Ablation (PFA) & Pulsed Field CryoAblation (PFCA) for Persistent Atrial Fibrillation (PsAF) | Prof. David Keane (Blackrock Clinic) | Adagio Medical Inc | MDR | FWC | 2023-03-28
23-NREC-MD-006 | An Open-label Randomized Phase 3 Study of Tucatinib in Combination with Trastuzumab and mFOLFOX6 versus mFOLFOX6 given with or without either Cetuximab or Bevacizumab as First-line Treatment for Subjects with HER2+ Metastatic Colorectal Cancer | Dr Adrian Murphy (Beaumont Hospital) | Seagen Inc. | IVDR | FWC | 2023-03-28
22-NREC-MD-032-SM1 | ProVee Urethral Expander System IDE Study/ProVIDE Study | Mr Barry Jones (SJHl) | ProVerum Ltd. | MDR | F | 2023-03-28
22-NREC-MD-021-SM2 | LiquID Guide Catheter Extension Safety Study | Prof. Robert Byrne (Mater Private Dublin) | Seigla Medical, Inc. | MDR | F | 2023-03-28
23-NREC-MD-007 | Repeatability, Reproducibility and Demographic Reference Study in Ocular Microtremor | Dr Matthew Sheehan (National Optometry Centre) | Head Diagnostics Ltd. | MDR | FWC | 2023-03-28
22-NREC-MD-036-SM1 | A Prospective, Multi-Center, Open Label, Single Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordella™ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (PROACTIVE- HF Trial) | Prof. Faisal Sharif (UHG) | Endotronix Ireland Limited | MDR | F | 2023-03-28
22-NREC-MD-007-SM3 | A Pilot Study to Investigate the Use of Remote Thermovisual Monitoring in Patients with a Previous Diabetic Foot Ulcer, during the COVID-19 pandemic | Prof. Caroline McIntosh (University of Galway) | Bluedrop Medical | MDR | F | 2023-03-28
22-NREC-MD-033-SM1 | Randomized Comparison of Abluminus DES+ Sirolimus-Eluting Stents versus Everolimus-Eluting Stents in Coronary Artery Disease Patients with Diabetes Mellitus Global (ABILITY Diabetes Global) | Dr Darren Mylotte (UHG) | Concept Medical | MDR | F | 2023-03-27
23-NREC-MD-002 | SECURE - An observational post-marketing study for evaluation of ongoing safety and effectiveness of catheter mapping and ablation using commercially approved BWI medical devices for the treatment of patients with cardiac arrhythmias | Prof. Gabor Szeplaki (Mater Private Dublin) | Biosense Webster, Inc. | MDR | FWC | 2023-02-20
23-NREC-MD-003 | Real world Data collection in subjects treated with the FARAPULSE™ Pulsed Field Ablation system (FARADISE) | Prof. Gabor Szeplaki (Mater Private Dublin) | Boston Scientific International S.A. | MDR | F | 2023-02-20
22-NREC-MD-002-SM1 | Tinnitus Patient Registry at Ótologie Tinnitus Care (Ótologie) | Ms Anita Sayers (Hermitage Clinic) | Neuromod Devices Ltd | MDR | F | 2023-02-20
22-NREC-MD-016-SM2 | A Prospective, Randomized, Double-Blind, Sham-Controlled, Multi-Center Pivotal Study to Evaluate the Efficacy and Safety of Duodenal Mucosal Resurfacing Using the Revita® System in Subjects with Type 2 Diabetes on Insulin therapy | Prof. Carel Le Roux (UCD) | Fractyl Health, Inc. | MDR | FWC | 2023-02-20
21-NREC-MD-009-SM1 | A prospective, multicenter post-marketing clinical investigation of the SING IMT System, model NG SI IMT 3X in patients with central vision impairment associated with end-stage age-related macular degeneration | Prof. David Keegan (MMUHl) | Samsara Vision Ltd. | MDR | F | 2023-02-20
22-NREC-MD-042-SM1 | A Prospective, Randomized, Non-Inferiority Trial to Determine the Safety and Efficacy of the Biolimus A9™ Drug Coated Balloon for the Treatment of In-Stent Restenosis: First-in-Man Trial (REFORM) | Prof. Robert Byrne (Mater Private Dublin) | Biosensors BV | MDR | FWC | 2023-01-26
22-NREC-MD-030-SM1 | A randomized trial of ultrasound-facilitated, catheter-directed, thrombolysis versus anticoagulation for acute intermediate-high risk pulmonary embolism: The higher-risk pulmonary embolism thrombolysis study | Dr Umer Salati (MMUH) | Boston Scientific International S.A. | MDR | F | 2023-01-26
22-NREC-MD-021-SM1 | LiquID Guide Catheter Extension Safety Study | Prof. Robert Byrne (Mater Private Dublin) | Seigla Medical, Inc. | MDR | FWC | 2023-01-26
22-NREC-MD-041-SM2 | A randomized, double blind sham controlled clinical trial to evaluate the efficacy of vestibular nerve stimulation (VeNS), together with a lifestyle modification programme, compared to a sham control with a lifestyle modification programme, as a means of improving glycemic control in adults with type 2 diabetes mellitus. | Prof. Carel Le Roux (SVUH) | Neurovalens | MDR | F | 2023-01-26
23-NREC-MD-004 | Assessment of post-operative pain after a single-visit root canal treatment using VaryFlex Taper files VFNEO and TruNatomy rotary endodontic files: prospective, open-label trial. | Dr Greg Creavin (Beechwood Dental) | Endoperfection Ltd | MDR | U | 2023-01-26
22-NREC-MD-041-SA1 | A randomized, double blind sham controlled clinical trial to evaluate the efficacy of vestibular nerve stimulation (VeNS), together with a lifestyle modification programme, compared to a sham control with a lifestyle modification programme, as a means of improving glycemic control in adults with type 2 diabetes mellitus. | Prof. Carel Le Roux (SVUH) | Neurovalens | MDR | U | 2022-12-16
21-NREC-MD-005-SA1 | Conduction System Pacing Optimized Therapy (CSPOT) | Dr Jonathan Lyne (Beacon hospital) | Medtronic Bakken Research Center (BRC) B.V. | MDR | F | 2022-12-16
22-NREC-MD-036 | A Prospective, Multi-Center, Open Label, Single Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordellaâ„¢ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (PROACTIVE- HF Trial) | Prof. Faisal Sharif (UHG) | Endotronix Ireland Limited | MDR | FWC | 2022-12-16
22-NREC-MD-034 | Wound Assessment Using Spectral Imaging (WAUSI) | Prof. John McDermott (Connolly Hospital) | Spectral MD Inc | MDR | F | 2022-11-25
22-NREC-MD-035 | Product Surveillance Registry (PSR) Coronary | Prof. Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | FWC | 2022-11-25
22-NREC-MD-037 | A single-centre, investigator-led, observational clinical investigation to evaluate the performance of ECG gathered from a single arm for the detection of heart rhythm abnormalities, as compared to hospital telemetry ECG | Prof. David Burke (Beacon Hospital) | Electronic Data Distribution Ltd. | MDR | FWC | 2022-11-25
22-NREC-MD-038 | Comparison of Departmental Echocardiogram vs Caption Ai-driven Acquisition (CODEC-AI) | Dr Matthew Barrett (SVUH) | HSE | MDR | FWC | 2022-11-25
22-NREC-MD-039 | Evaluation of the GOREÂ® VIAFORT Vascular Stent for Treatment of Symptomatic Inferior Vena Cava Obstruction with or without Combined Iliofemoral Obstruction | Mr Gerry O'Sullivan (UHG) | W. L. Gore & Associates, Inc. | MDR | FWC | 2022-11-25
21-NREC-MD-014-SA2 | Randomised, single dose, crossover, open label, placebo controlled, single site confirmatory clinical investigation in patients with gastro-oesophageal reflux, to characterise the acid neutralisation activity of a calcite chewing gum, using oesophageal ambulatory pH monitoring. | Dr Martin Buckley (MUH) | Reckitt Benckiser Healthcare UK | MDR | F | 2022-11-25
22-NREC-MD-027-SA1 | CONNected Electronic Inhalers Asthma Control Trial 3 (CONNECT 3), a 24-Week Treatment, Multicenter, Open-Label, Randomized, Parallel Group Comparison Study of Standard of Care Treatment Versus the Budesonide/Formoterol Digihaler Digital System, to Optimize Outcomes in Adult Patients with Asthma | Prof. Richard Costello (Beaumont) | Teva Branded Pharmaceutical Products R&D, Inc. | MDR | FWC | 2022-11-25
22-NREC-MD-030 | A randomized trial of ultrasound-facilitated, catheter-directed, thrombolysis versus anticoagulation for acute intermediate-high risk pulmonary embolism: The higher-risk pulmonary embolism thrombolysis study | Dr Umer Salati (MMUH) | Boston Scientific International S.A. | MDR | FWC | 2022-10-21
22-NREC-MD-031 | An open-label, single site, pilot clinical investigation to assess the detectability and sizing of invasive breast cancers, the detectability of benign breast lesions, as well as the differentiation between malignant and benign breast lesions using the Wavelia #2 Microwave Breast Imaging system (Wavelia #2 Pilot #1 Study) | Prof. Michael J Kerin (UHG) | MVG Industries SAS | MDR | FWC | 2022-10-21
22-NREC-MD-032 | ProVee Urethral Expander System IDE Study/ ProVIDE Study | Mr Peter Lonergan (SJH) | ProVerum Ltd. | MDR | FWC | 2022-10-21
22-NREC-MD-003-SA3 | Global SYMPLICITY Registry (GSR) Denervation Findings in Real World (DEFINE) is referred to as the GSR DEFINE study, Including Irish Country Addendum (IMPROVE) | Prof Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | FWC | 2022-10-21
22-NREC-MD-027 | CONNected Electronic Inhalers Asthma Control Trial 3 (CONNECT 3), a 24-Week Treatment, Multicenter, Open-Label, Randomized, Parallel Group Comparison Study of Standard of Care Treatment Versus the Budesonide/Formoterol Digihaler Digital System, to Optimize Outcomes in Adult Patients with Asthma | Prof. Richard Costello (Beaumont) | Teva Branded Pharmaceutical Products R&D, Inc. | MDR | FWC | 2022-09-29
22-NREC-MD-020 | A single-centre, investigator-led, observational clinical investigation to evaluate the performance of ECG gathered from a single arm for the detection of heart rhythm abnormalities, as compared to hospital telemetry ECG | Prof. David Burke (Beacon Hospital) | Electronic Data Distribution Ltd. | MDR | U | 2022-09-23
22-NREC-MD-023 | Multi-CentreProspective Observational Cohort Study: To assess the performance of single use duodenoscope | Dr Danny Cheriyan (Beaumont Hospital) | Nottingham University Hospitals NHS Trust | MDR | FWC | 2022-09-23
22-NREC-MD-021 | LiquID Guide Catheter Extension Safety Study | Prof. Robert Byrne (Mater Private Network) | Seigla Medical, Inc. | MDR | FWC | 2022-09-23
22-NREC-MD-024 | Evaluation of the GOREÂ® VIAFORT Vascular Stent for Treatment of Symptomatic Inferior Vena Cava Obstruction with or without Combined Iliofemoral Obstruction | Mr Gerry O'Sullivan (UHG) | W. L. Gore & Associates, Inc. | MDR | U | 2022-09-23
22-NREC-MD-025 | A Prospective, Multi-Center, Open Label, Single Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordellaâ„¢ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (PROACTIVE- HF Trial) | Prof. Faisal Sharif (UHG) | Endotronix Ireland Limited | MDR | U | 2022-09-23
22-NREC-MD-026 | Effectiveness of the SpaceOAR Vue System in Subjects with Prostate Cancer being Treated with Stereotactic Body RadiothErapy (SABRE) | Dr Paul Kelly (Bon Secours) | Boston Scientific International S.A. | MDR | FWC | 2022-09-23
22-NREC-MD-019 | Coronary PRODUCT SURVEILLANCE REGISTRY (PSR) PLATFORM BASE | Prof. Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | U | 2022-08-25
22-NREC-MD-005-SA1 | Treatment Evaluation of Neuromodulation for Tinnitus – Stage A3 (TENT-A3) | Dr S.Guan Khoo (SVUH) | Neuromod Devices Ltd | MDR | F | 2022-08-25
22-NREC-MD-022 | A Prospective Open label single arm Post Market Clinical Follow-up trial of the FARAPULSE pulsed field ablation system in patients with paroxysmal Atrial fibrillation. | Prof. Gabor Szeplaki (Mater Private Dublin) | FARAPULSE, Inc | MDR | FWC | 2022-08-25
22-NREC-MD-028 | Preliminary testing of the Safety, Usability and Functionality of an innovative and smart medical device: Compression Therapy System Prototype for Venous Leg Ulcer treatment in healthy volunteers | Prof. Denis Harkin (RCSI) | DeRoyal Global Healthcare Solutions LTD | MDR | FWC | 2022-08-25
22-NREC-MD-007-SA2 | A Pilot Study to Investigate the Use of Remote Thermovisual Monitoring in Patients with a Previous Diabetic Foot Ulcer, during the COVID-19 pandemic. | Prof. Caroline McIntosh (NUIG) | Bluedrop Medical | MDR | F | 2022-08-25
22-NREC-MD-029 | Remote photoplethysmography for measuring vital signs: useability and acceptance within a specialist palliative care unit | Prof. Andrew Davis (TCD) | Our Lady's Hospice & Care Services | MDR | FWC | 2022-08-25
22-NREC-MD-016-SA1 | A Prospective, Randomized, Double-Blind, ShamControlled, Multi-Center Pivotal Study to Evaluate the Efficacy and Safety of Duodenal Mucosal Resurfacing Using the Revita® System in Subjects with Type 2 Diabetes on Insulin therapy | Prof. Carel Le Roux (UCD) | Fractyl Laboratories | MDR | U | 2022-07-28
22-NREC-MD-017 | Real world evidence observational study to evaluate performance and safety of intravesical sodium hyaluronate (CystistatÂ®) in the treatment of patients with interstitial cystitis (IC)/bladder pain syndrome (BPS) | Prof. Rustom Manecksha (AMNCH/ Tallaght) | MEDA Pharma GmbH & Co. KG (A Viatris company) | MDR | FWC | 2022-07-28
22-NREC-MD-018 | A wearable in-phase chest wall vibration device for relief of dyspnoea in COPD: a first-in-human exploratory study | Prof. Seamus Linnane (Beacon Hospital) | Elevre Medical Limited | MDR | F | 2022-07-28
22-NREC-MD-014 | Transcatheter Repair of Tricuspid Regurgitation with Edwards PASCAL Transcatheter Valve Repair System: A European prospective, multicenter Postâ€Market Clinical Follow up | Prof. Mark Spence (MMUH) | Edwards Lifesciences, LLC | MDR | U | 2022-06-22
22-NREC-MD-015 | Remote photoplethysmography for monitoring vital signs: useability and acceptance within a specialist palliative care unit | Prof. Andrew Davies (OLH) | Our Lady's Hospice & Care Services | MDR | U | 2022-06-22
22-NREC-MD-003-SA2 | Global SYMPLICITY Registry (GSR) Denervation Findings in Real World (DEFINE) is referred to as the GSR DEFINE study, Including Irish Country Addendum (IMPROVE) | Prof. Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | F | 2022-06-22
22-NREC-MD-008 | Fissure Closure with the AeriSeal System for CONVERTing Ventilation Status in Patients with Severe Emphysema: a MultiCenter, Prospective Trial (CONVERT Trial) | Prof. Karen Redmond (Beacon hospital) | Pulmonx Corporation | MDR | FWC | 2022-05-24
22-NREC-MD-011 | Feasibility study of the HighLife 28mm trans-septal transcatheter mitral valve in patients with moderate-severe or severe mitral regurgitation and at high surgical risk | Prof. Mark Spence (MMUH) | HighLife SAS | MDR | FWC | 2022-05-24
22-NREC-MD-012 | DermAssist Ireland Study | Dr Cian Hughes (Google) | Google Ireland Limited | MDR | U | 2022-05-24
21-NREC-MD-004-SA2 | MyopiaX Treatment for the Reduction of Myopia Progression in Children | Prof. James Loughman (TUD) | Dopavision GmbH, Germany | MDR | FWC | 2022-05-24
22-NREC-MD-010-SA1 | A prospective, single arm clinical investigation evaluating safety and effectiveness/performance of the Microport CardioFlow VitaFlow LibertyTM - Transcatheter Aortic Valve System for the treatment of symptomatic severe aortic stenosis via transcatheter a | Dr Darren Mylotte (UHG) | MD-Clinicals Germany GmbH | MDR | F | 2022-04-20
22-NREC-MD-009 | Real-World Outcomes Study on Subjects Treated with Radiofrequency Ablation | Dr Paul Murphy (SVUH) | Abbott | MDR | FWC | 2022-04-20
22-NREC-MD-003-SA1 | Global SYMPLICITY Registry (GSR) Denervation Findings in Real World (DEFINE) is referred to as the GSR DEFINE study, Including Irish Country Addendum (IMPROVE) | Prof. Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | FWC | 2022-04-20
22-NREC-MD-004 | ProVee Urethral Expander System IDE Study/ ProVIDE Study | Dr Peter Lonergan (SJH) | ProVerum Ltd. | MDR | U | 2022-03-22
22-NREC-MD-005 | Treatment Evaluation of Neuromodulation for Tinnitus Stage A3 (TENT-A3) | Dr S.Guan Khoo (SVUH) | Neuromod Devices Ltd | MDR | FWC | 2022-03-22
22-NREC-MD-007-SA1 | A Pilot Study to Investigate the Use of Remote Thermovisual Monitoring in Patients with a Previous Diabetic Foot Ulcer, during the COVID-19 pandemic | Prof. Caroline McIntosh (NUIG) | Bluedrop Medical | MDR | FWC | 2022-03-22
22-NREC-MD-006 | LANDMARK Trial: A prospective, multinational, multicentre, open-label, randomised, non-inferiority trial to ompare safety and effectiveness of Meril’s Myval Transcatheter Heart Valve (THV) series vs. Contemporary Valves (Edwards’ Sapien THV series and Medtronic’s Evolut THV series) in patients with severe symptomatic native aortic valve stenosis. | Dr Darren Mylotte (UHG) | Meril Life Sciences Pvt. Ltd. | MDR | FWC | 2022-03-22
21-NREC-MD-014-SA1 | Randomised, single dose, crossover, open label, placebo controlled, single site confirmatory clinical investigation in patients with gastro-oesophageal reflux, to characterise the acid neutralisation activity of a calcite chewing gum, using oesophageal ambulatory pH monitoring. | Dr Martin Buckley (MUH) | Reckitt Benckiser Healthcare UK | MDR | F | 2022-03-07
21-NREC-MD-006-SA2 | Optimise PRO | Dr Darren Mylotte (UHG) | Medtronic Bakken Research Center BV | MDR | F | 2022-03-02
22-NREC-MD-003 | Global SYMPLICITY Registry (GSR) Denervation Findings in Real World (DEFINE) is referred to as the GSR DEFINE study, Including Irish Country Addendum (IMPROVE) | Prof. Faisal Sharif (UHG) | Medtronic Bakken Research Center (BRC) B.V. | MDR | FWC | 2022-02-21
22-NREC-MD-001-SA | Multicentric Post-Market Clinical Follow-up (PMCF) Investigation to Determine Safety and Efficacy of a Hydrophobic EDOF Intraocular Lens (IOL) in Comparison to a Monofocal IOL | Ms Jasna Pavicic-Astalos, MD, PhD (Institute of Eye Surgery, UPMC Kildare Hospital) | PhysIOL (BVI) | MDR | FWC | 2022-01-25
21-NREC-MD-008-SA3 | The RADIANCE II Pivotal Study - SA3 | Prof. Faisal Sharif (UHG) | ReCor Medical | MDR | F | 2022-01-25
22-NREC-MD-002 | Tinnitus Patient Registry at Ótologie Tinnitus Care (Ótologie) | Ms Anita Sayers (Hermitage Clinic) | Neuromod Devices Ltd | MDR | FWC | 2022-01-25
21-NREC-MD-014 | Randomised, single dose, crossover, open label, placebo controlled, single site confirmatory clinical investigation in patients with gastro-oesophageal reflux, to characterise the acid neutralisation activity of a calcite chewing gum, using oesophageal ambulatory pH monitoring. | Dr Martin Buckley (MUH) | Reckitt Benckiser Healthcare UK | MDR | FWC | 2021-12-20
21-NREC-MD-015 | Fractional Flow Reserve or 3D-Quantitative-Coronary-Angiography Based Vessel-FFR guided revascularization | Prof. Robert A Byrne (MMUH) | European Cardiovascular Research Institute (ECRI) | MDR | F | 2021-12-20
21-NREC-MD-012-SA | RHEIA (Randomized researcH in womEn all comers wIth Aortic stenosis) A Prospective, Randomized, Controlled, Multi-Center Study to Evaluate the Safety and Efficacy of Transcatheter Aortic Valve Implantation in Female Patients who have Severe Symptomatic Aortic Stenosis Requiring Aortic Valve Replacement | Dr Stephen O'Connor (SJH) | SSS International Clinical Research GmbH | MDR | F | 2021-12-06
21-NREC-MD-004-SA | MyopiaX Treatment for the Reduction of Myopia Progression in Children | Prof. James Loughman (TUD) | Dopavision GmbH, Germany | MDR | F | 2021-11-30
21-NREC-MD-008-SA2 | The "RADIANCE II" Pivotal Study | Prof. Faisal Sharif (UHG) | ReCor Medical BV | MDR | U | 2021-11-03
21-NREC-MD-009 | A prospective, multicenter post-marketing clinical investigation of the Tsert SITM System, model NG SI IMT 3X in patients with central vision impairment associated with end-stage age-related macular degeneration | Prof. David Keegan (MMUH) | VisionCare Ophthalmic Technologies Ltd, Israel | MDR | FWC | 2021-10-04
21-NREC-MD-010 | LANDMARK Trial: A prospective, multinational, multicentre, open-label, randomised, non-inferiority trial to ompare safety and effectiveness of Meril’s Myval Transcatheter Heart Valve (THV) series vs. Contemporary Valves (Edwards’ Sapien THV series and Medtronic’s Evolut THV series) in patients with severe symptomatic native aortic valve stenosis. | Dr Darren Mylotte (UHG) | Meril Life Sciences Pvt. Ltd, India | MDR | U | 2021-10-04
21-NREC-MD-011 | An observational study of ocular microtremor in mild head injury | Prof. Geraldine McMahon (St James's Hospital) | Trinity College Dublin | MDR | FWC | 2021-10-04
21-NREC-MD-007-SA | A Prospective, Multi-Center, Open-Label, Single-Arm Clinical Trial Evaluating the Safety and Efficacy of the Cordella™ Pulmonary Artery Sensor System in New York Heart Association (NYHA) Class III Heart Failure Patients (SIRONA 2 Trial) | Prof. Faisal Sharif (UHG) | Endotronix Ireland Limited | MDR | F | 2021-08-03
21-NREC-MD-002-SA | Multivessel Talent: A randomised controlled trial to compare the safety and efficacy of sirolimus-eluting biodegradeable polyment ultra-thin stent (SUPRAFLEX™ Cruz) and everolimus-eluting biodegradable polymer stent (SYNERGY™) in treatment for three vessel coronary artery disease | Dr Robert Byrne (MMUH) | NUIG | MDR | F | 2021-07-30
21-NREC-MD-003 | The PIONEER IV trial: Non-inferiority of angiography-derived physiology guidance versus usual care in an All-comers population treated with unrestricted use of Healing-Targeted Supreme stent (HT Supreme) and P2Y12 inhibitor monotherapy after 1-month of dual-antiplatelet therapy | Prof. Patrick Serruys (NUIG) | NUIG | MDR | F | 2021-07-30
21-NREC-MD-004 | MyopiaX Treatment for the Reduction of Myopia Progression in Children | Prof. James Loughman (TUD) | Dopavision GmbH, Germany | MDR | FWC | 2021-07-30
21-NREC-MD-005 | Conduction System Pacing Optimized Therapy (CSPOT) | Dr Jonathan Lyne (Beacon hospital) | Medtronic Bakken Research Center (BRC) B.V. | MDR | FWC | 2021-07-30
21-NREC-MD-006-SA | Optimise PRO | Dr Darren Mylotte (UHG) | Medtronic Bakken Research Center BV | MDR | F | 2021-07-30
21-NREC-MD-008-SA | The "RADIANCE II" Pivotal Study | Prof. Faisal Sharif (UHG) | ReCor Medical BV | MDR | FWC | 2021-07-30
21-NREC-MD-001 | PORSAV (Protecting OR Staff from Aerosolized Virus) Clinical Investigation | Prof. Ronan Cahill (MMUH) | Palliare | MDR | FWC | 2021-06-29
21-NREC-MD-013 | Real-World Outcomes Study on Subjects Treated with Radiofrequency Ablation | Dr Paul Murphy (SVUH) | Abbott | MDR | W
22-NREC-MD-040 | Blood-based biomarker pre-screening and CSF testing with immunoassays for the SKYLINE Phase III study | Prof. Sean Kennelly (TUH) | Roche Diagnostics International Ltd. | IVDR | W
23-NREC-MD-015-SM1 | Diagnostic Protocol for VENTANA PD-L1 (SP263) CDx Assay in Arcus Biosciences Study ARC-10 | Prof. Jarushka Naidoo (Beaumont Hospital) | Arcus Biosciences Europe | IVDR | W
23-NREC-MD-040 | Clinical Performance Study for the use of FOLR1 (2.1) IHC Clinical Trial Assay in IMGN853-0420, a Multicenter, open-label, phase 2 study of carboplatin plus mirvetuximab soravtansine followed by mirvetuximab soravtansine continuation in folate receptor-alpha positive, recurrent platinum-sensitive, high-grade epithelial ovarian, primary peritoneal, or fallopian tube cancers following 1 prior line of platinum-based chemotherapy | Prof. Conleth Murphy (Bon Secours Hospital, Cork) | ImmunoGen, Inc. | IVDR | W
F: Favourable
FWC: Favourable with conditions
U: Unfavourable
W: Withdrawn
IVDR: Regulation (EU) 2017/746 of the European Parliament and of the Council of 5 April 2017 on in vitro diagnostic medical devices
MDR: Regulation (EU) 2017/745 of the European Parliament and of the Council of 5 April 2017 on medical devices
Note on G91: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Letter delayed as query sent to applicant which required response in order to confirm 'favourable' outcome. (Drug dosage = correction or change?)